## Offer
MM
Att : |  | Date : | 2026-03-03
|  | Réf. : | KORNET EL HAMRA
Dear Sir,
As per to your request, please find hereunder our best offer for the supply of the
electrical panelboards listed below to serve your project.
ATS |  |  | 1508.92
|  | TTC: | 1674.9012
MCCB MCCB 100AF 100A 4P | SCHNEIDER |  | 2
KWH Meter | SCHNEIDER |  | 2
Phase Failure Relay | SCHNEIDER |  | 2
Contactor Contactor AC3 4x250A/AC3 | SCHNEIDER |  | 8
MCCB MCCB 250AF 200A 4P | SCHNEIDER |  | 1
MCCB MCCB 400AF 250A 4P | SCHNEIDER |  | 1
MCCB MCCB 160AF 125A 4P | SCHNEIDER |  | 1
MCCB MCCB 400AF 250A 4P | SCHNEIDER |  | 1
MCCB MCCB 160AF 150A 4P | SCHNEIDER |  | 1
MCCB MCCB 80AF 70A 4P | SCHNEIDER |  | 1
Switch Isolator Switch (IS) 4x250A | SCHNEIDER |  | 6
Switch Manual Transfer Switch (MTS) 4x250A | SCHNEIDER |  | 6
Surge Arrester Class B&C | DHEN |  | 2
Digital Power Meter | SCHNEIDER |  | 3
Phase Relay | SCHNEIDER |  | 1
Terminal 70mm²+ | PHOENIX |  | 2
Commercial Conditions:
B.1 Conditions of Sale
This quotation is submitted subject to TECHNICAT Group Conditions of Business. All prices have been offered in conjunction with these terms and conditions, and any deviation from these terms may result in the amendment of these prices.
B.2 Validity
The prices indicated are open for acceptance up till One Week from date of this proposal. Thereafter this date the tender will be subject to extensions or revisions.
B.3 Estimated Delivery
Based on current commitments:
* To be fixed later upon your priority schedule.
- Dispatch time is our best estimate at time of quotation, and will be confirmed upon receipt of order. This confirmed date would form our contractual offer of dispatch.
* Prices include transportation to the site.
B.4 Warranty
A total warranty against any fault in the assembly is provided.
B.5 Payment
* CASH PAYMENT.
We trust the above shall meet your acceptance and look forward to hear from you soon.
Sincerely Yours
ELIE BOU SERHAL
Electrical Eng.

## Pricing Detail (hidden)
Panel | Description | Brand | Qty | Unit Price (EUR) | Total (EUR) | Match Tier | Matched Ref
ATS | MCCB MCCB 100AF 100A 4P | SCHNEIDER | 2 | 0 | 0 | NF
ATS | KWH Meter | SCHNEIDER | 2 | 259.67 | 519.34 | T1 | A9MEM3215
ATS | Phase Failure Relay | SCHNEIDER | 2 | 59.45 | 118.9 | T1 | RM22TG20
ATS | Contactor Contactor AC3 4x250A/AC3 | SCHNEIDER | 8 | 0 | 0 | NF
ATS | MCCB MCCB 250AF 200A 4P | SCHNEIDER | 1 | 0 | 0 | NF
ATS | MCCB MCCB 400AF 250A 4P | SCHNEIDER | 1 | 0 | 0 | NF
ATS | MCCB MCCB 160AF 125A 4P | SCHNEIDER | 1 | 0 | 0 | NF
ATS | MCCB MCCB 400AF 250A 4P | SCHNEIDER | 1 | 0 | 0 | NF
ATS | MCCB MCCB 160AF 150A 4P | SCHNEIDER | 1 | 0 | 0 | NF
ATS | MCCB MCCB 80AF 70A 4P | SCHNEIDER | 1 | 0 | 0 | NF
ATS | Switch Isolator Switch (IS) 4x250A | SCHNEIDER | 6 | 0 | 0 | NF
ATS | Switch Manual Transfer Switch (MTS) 4x250A | SCHNEIDER | 6 | 0 | 0 | NF
ATS | Surge Arrester Class B&C | DHEN | 2 | 0 | 0 | NF
ATS | Digital Power Meter | SCHNEIDER | 3 | 270.41 | 811.23 | T1 | METSEPM2210
ATS | Phase Relay | SCHNEIDER | 1 | 59.45 | 59.45 | T1 | RM22TG20
ATS | Terminal 70mm²+ | PHOENIX | 2 | 0 | 0 | NF
T1 = Keyword match (>=60%)
T2 = AI matched
T3 = Size substituted
NF = Not found in DB