## KORNET EL HAMRA (2)
MM
| Att : |  | Date : | 2025-12-04
|  |  | Réf. : | KORNET EL HAMRA
Dear Sir,
As per to your request, please find hereunder our best offer for the supply of the
electrical panelboards listed below to serve your project.
| DB-ATTIC |  |  | 1600
|  |  | TTC: | 1776
| Switch INS63 4x63A | SCHNEIDER |  | 1
| Fuse holder | SCHNEIDER |  | 3
| Pilot lamp | SCHNEIDER |  | 3
| CT 80/5 | MBS |  | 3
| Digital Power Meter | SCHNEIDER |  | 1
| Surge Arrester type 2 | DHEN |  | 1
| RCCB ID , 4P 25A , 30mA , AC | SCHNEIDER |  | 1
| RCCB ID , 4P 25A , 300mA , AC | SCHNEIDER |  | 1
| MCB DPNN 10A 1P+N , C , 6KA | SCHNEIDER |  | 7
| MCB DPNN 16A 1P+N , C , 6KA | SCHNEIDER |  | 10
| MCB DPNN 20A 1P+N , C , 6KA | SCHNEIDER |  | 4
| MCB IC60N 50A 4P , C , 6KA | SCHNEIDER |  | 1
| Terminal 2x4mm2 | PHOENIX |  | 21
| Terminal 10mm2 | PHOENIX |  | 4
| Terminal 16mm2 | PHOENIX |  | 4
| Panel 15 MOD (PRISMA) | SCHNEIDER |  | 1
| Plastron | SCHNEIDER |  | 5
| Rail | SCHNEIDER |  | 5
| Door 15M | SCHNEIDER |  | 1
| DB-B1 |  |  | 2100
|  |  | TTC: | 2331
| Switch INS40 4x40A | SCHNEIDER |  | 1
| Fuse holder | SCHNEIDER |  | 3
| Pilot lamp | SCHNEIDER |  | 3
| CT 40/5 | MBS |  | 3
| Digital Power Meter | SCHNEIDER |  | 1
| Surge Arrester type 2 | DHEN |  | 1
| RCCB ID , 4P 25A , 30mA , AC | SCHNEIDER |  | 2
| RCCB ID , 4P 25A , 300mA , AC | SCHNEIDER |  | 2
| MCB DPNN 10A 1P+N , C , 6KA | SCHNEIDER |  | 16
| MCB DPNN 16A 1P+N , C , 6KA | SCHNEIDER |  | 14
| MCB DPNN 20A 1P+N , C , 6KA | SCHNEIDER |  | 3
| Terminal 2x4mm2 | PHOENIX |  | 33
| Terminal 10mm2 | PHOENIX |  | 4
| Panel 21 MOD (PRISMA) | SCHNEIDER |  | 1
| Plastron | SCHNEIDER |  | 7
| Rail | SCHNEIDER |  | 7
| Door 21M | SCHNEIDER |  | 1
| DB-B2 |  |  | 1750
|  |  | TTC: | 1942.5
| Switch INS40 4x40A | SCHNEIDER |  | 1
| Fuse holder | SCHNEIDER |  | 3
| Pilot lamp | SCHNEIDER |  | 3
| CT 40/5 | MBS |  | 3
| Digital Power Meter | SCHNEIDER |  | 1
| Surge Arrester type 2 | DHEN |  | 1
| RCCB ID , 4P 25A , 30mA , AC | SCHNEIDER |  | 1
| RCCB ID , 4P 25A , 300mA , AC | SCHNEIDER |  | 1
| Switch iSW 4x20A | SCHNEIDER |  | 1
| MCB DPNN 10A 1P+N , C , 6KA | SCHNEIDER |  | 10
| MCB DPNN 16A 1P+N , C , 6KA | SCHNEIDER |  | 6
| MCB DPNN 20A 1P+N , C , 6KA | SCHNEIDER |  | 7
| MCB IC60N 20A 4P , C , 6KA | SCHNEIDER |  | 1
| Terminal 2x4mm2 | PHOENIX |  | 23
| Terminal 4mm2 | PHOENIX |  | 8
| Terminal 10mm2 | PHOENIX |  | 4
| Panel 18 MOD (PRISMA) | SCHNEIDER |  | 1
| Plastron | SCHNEIDER |  | 6
| Rail | SCHNEIDER |  | 6
| Door 18M | SCHNEIDER |  | 1
| DB-F1 |  |  | 1775
|  |  | TTC: | 1970.25
| Switch INS63 4x63A | SCHNEIDER |  | 1
| Fuse holder | SCHNEIDER |  | 3
| Pilot lamp | SCHNEIDER |  | 3
| CT 80/5 | MBS |  | 3
| Digital Power Meter | SCHNEIDER |  | 1
| Surge Arrester type 2 | DHEN |  | 1
| RCCB ID , 4P 25A , 30mA , AC | SCHNEIDER |  | 1
| RCCB ID , 4P 25A , 300mA , AC | SCHNEIDER |  | 1
| MCB DPNN 10A 1P+N , C , 6KA | SCHNEIDER |  | 17
| MCB DPNN 16A 1P+N , C , 6KA | SCHNEIDER |  | 10
| MCB IC60N 50A 4P , C , 6KA | SCHNEIDER |  | 1
| Terminal 2x4mm2 | PHOENIX |  | 27
| Terminal 10mm2 | PHOENIX |  | 4
| Terminal 16mm2 | PHOENIX |  | 4
| Panel 18 MOD (PRISMA) | SCHNEIDER |  | 1
| Plastron | SCHNEIDER |  | 6
| Rail | SCHNEIDER |  | 6
| Door 18M | SCHNEIDER |  | 1
| DB-GF |  |  | 2200
|  |  | TTC: | 2442
| Switch INS100 4x100A | SCHNEIDER |  | 1
| Fuse holder | SCHNEIDER |  | 3
| Pilot lamp | SCHNEIDER |  | 3
| CT 100/5 | MBS |  | 3
| Digital Power Meter | SCHNEIDER |  | 1
| Surge Arrester type 2 | DHEN |  | 1
| RCCB ID , 4P 25A , 30mA , AC | SCHNEIDER |  | 2
| RCCB ID , 4P 25A , 300mA , AC | SCHNEIDER |  | 1
| MCB DPNN 10A 1P+N , C , 6KA | SCHNEIDER |  | 19
| MCB DPNN 16A 1P+N , C , 6KA | SCHNEIDER |  | 9
| MCB DPNN 20A 1P+N , C , 6KA | SCHNEIDER |  | 10
| MCB IC60N 50A 4P , C , 6KA | SCHNEIDER |  | 1
| Terminal 2x4mm2 | PHOENIX |  | 38
| Terminal 10mm2 | PHOENIX |  | 4
| Terminal 25mm2 | PHOENIX |  | 4
| Panel 21 MOD (PRISMA) | SCHNEIDER |  | 1
| Plastron | SCHNEIDER |  | 7
| Rail | SCHNEIDER |  | 7
| Door 21M | SCHNEIDER |  | 1
| UDB-ATTIC |  |  | 1200
|  |  | TTC: | 1332
| Switch INS40 4x40A | SCHNEIDER |  | 1
| Fuse holder | SCHNEIDER |  | 3
| Pilot lamp | SCHNEIDER |  | 3
| CT 40/5 | MBS |  | 3
| Digital Power Meter | SCHNEIDER |  | 1
| Surge Arrester type 2 | DHEN |  | 1
| RCCB ID , 4P 25A , 30mA , AC | SCHNEIDER |  | 1
| RCCB ID , 4P 25A , 300mA , AC | SCHNEIDER |  | 1
| MCB DPNN 10A 1P+N , C , 6KA | SCHNEIDER |  | 4
| MCB DPNN 16A 1P+N , C , 6KA | SCHNEIDER |  | 4
| Terminal 2x4mm2 | PHOENIX |  | 8
| Terminal 10mm2 | PHOENIX |  | 4
| Panel 12 MOD (PRISMA) | SCHNEIDER |  | 1
| Plastron | SCHNEIDER |  | 4
| Rail | SCHNEIDER |  | 4
| Door 12M | SCHNEIDER |  | 1
| UDB-B1 |  |  | 1500
|  |  | TTC: | 1665
| Switch INS40 4x40A | SCHNEIDER |  | 1
| Fuse holder | SCHNEIDER |  | 3
| Pilot lamp | SCHNEIDER |  | 3
| CT 40/5 | MBS |  | 3
| Digital Power Meter | SCHNEIDER |  | 1
| Surge Arrester type 2 | DHEN |  | 1
| RCCB ID , 4P 25A , 30mA , AC | SCHNEIDER |  | 2
| RCCB ID , 4P 25A , 300mA , AC | SCHNEIDER |  | 1
| MCB DPNN 10A 1P+N , C , 6KA | SCHNEIDER |  | 4
| MCB DPNN 16A 1P+N , C , 6KA | SCHNEIDER |  | 13
| Terminal 2x4mm2 | PHOENIX |  | 17
| Terminal 10mm2 | PHOENIX |  | 4
| Panel 15 MOD (PRISMA) | SCHNEIDER |  | 1
| Plastron | SCHNEIDER |  | 5
| Rail | SCHNEIDER |  | 5
| Door 15M | SCHNEIDER |  | 1
| UDB-F1 |  |  | 1475
|  |  | TTC: | 1637.25
| Switch INS40 4x40A | SCHNEIDER |  | 1
| Fuse holder | SCHNEIDER |  | 3
| Pilot lamp | SCHNEIDER |  | 3
| CT 40/5 | MBS |  | 3
| Digital Power Meter | SCHNEIDER |  | 1
| Surge Arrester type 2 | DHEN |  | 1
| RCCB ID , 4P 25A , 30mA , AC | SCHNEIDER |  | 2
| RCCB ID , 4P 25A , 300mA , AC | SCHNEIDER |  | 1
| MCB DPNN 10A 1P+N , C , 6KA | SCHNEIDER |  | 3
| MCB DPNN 16A 1P+N , C , 6KA | SCHNEIDER |  | 12
| Terminal 2x4mm2 | PHOENIX |  | 15
| Terminal 10mm2 | PHOENIX |  | 4
| Panel 15 MOD (PRISMA) | SCHNEIDER |  | 1
| Plastron | SCHNEIDER |  | 5
| Rail | SCHNEIDER |  | 5
| Door 15M | SCHNEIDER |  | 1
| UDB-GF |  |  | 1225
|  |  | TTC: | 1359.75
| Switch INS40 4x40A | SCHNEIDER |  | 1
| Fuse holder | SCHNEIDER |  | 3
| Pilot lamp | SCHNEIDER |  | 3
| CT 40/5 | MBS |  | 3
| Digital Power Meter | SCHNEIDER |  | 1
| Surge Arrester type 2 | DHEN |  | 1
| RCCB ID , 4P 25A , 30mA , AC | SCHNEIDER |  | 1
| RCCB ID , 4P 25A , 300mA , AC | SCHNEIDER |  | 1
| MCB DPNN 10A 1P+N , C , 6KA | SCHNEIDER |  | 3
| MCB DPNN 16A 1P+N , C , 6KA | SCHNEIDER |  | 6
| Terminal 2x4mm2 | PHOENIX |  | 9
| Terminal 10mm2 | PHOENIX |  | 4
| Panel 12 MOD (PRISMA) | SCHNEIDER |  | 1
| Plastron | SCHNEIDER |  | 4
| Rail | SCHNEIDER |  | 4
| Door 12M | SCHNEIDER |  | 1
| TOTALIZING SWITCHBOARD |  |  | 4500
|  |  | TTC: | 4995
| Switch INS160 4x160A | SCHNEIDER |  | 1
| Switch INS400 4x400A | SCHNEIDER |  | 1
| Contactor LC1-G150KUEN 3x150A/AC3 | SCHNEIDER |  | 1
| Contactor LC1-G400KUEN 3x400A/AC3 | SCHNEIDER |  | 1
| Fuse holder | SCHNEIDER |  | 11
| Pilot lamp | SCHNEIDER |  | 11
| MCB IC60N 20A 4P , C , 6KA | SCHNEIDER |  | 1
| MCCB NSX400F MIC2.3 4x400A | SCHNEIDER |  | 1
| Panel 160x120x40 | SCHNEIDER |  | 1
| ATS-1 |  |  | 7100
|  |  | TTC: | 7881
| Switch INS250 4x250A | SCHNEIDER |  | 2
| ATS LC2-G2654KUEN 4x265A/AC3 | SCHNEIDER |  | 1
| MTS 4x250A | SOCOMEC |  | 2
| Fuse holder | SCHNEIDER |  | 11
| Pilot lamp | SCHNEIDER |  | 12
| CT 250/5 | MBS |  | 3
| Digital Power Meter | SCHNEIDER |  | 1
| Surge Arrester type 1 | DHEN |  | 2
| Timer | TELE-HASE |  | 2
| Control relay | SCHNEIDER |  | 2
| Selector 3 positions | SCHNEIDER |  | 2
| Voltage relay | S & AS |  | 1
| Panel 200x100x60 | IDE |  | 1
| Side Panel 200x60 | IDE |  | 1
| ATS-2 |  |  | 7100
|  |  | TTC: | 7881
| Switch INS250 4x250A | SCHNEIDER |  | 2
| ATS LC2-G2654KUEN 4x265A/AC3 | SCHNEIDER |  | 1
| MTS 4x250A | SOCOMEC |  | 2
| Fuse holder | SCHNEIDER |  | 11
| Pilot lamp | SCHNEIDER |  | 12
| CT 250/5 | MBS |  | 3
| Digital Power Meter | SCHNEIDER |  | 1
| Surge Arrester type 1 | DHEN |  | 2
| Timer | TELE-HASE |  | 2
| Control relay | SCHNEIDER |  | 2
| Selector 3 positions | SCHNEIDER |  | 2
| Voltage relay | S & AS |  | 1
| Panel 200x100x60 | IDE |  | 1
| Side Panel 200x60 | IDE |  | 1
| ATS-3 |  |  | 6200
|  |  | TTC: | 6882
| Switch INS250 4x250A | SCHNEIDER |  | 2
| ATS LC2-G2654KUEN 4x265A/AC3 | SCHNEIDER |  | 1
| MTS 4x250A | SOCOMEC |  | 2
| Fuse holder | SCHNEIDER |  | 11
| Pilot lamp | SCHNEIDER |  | 12
| CT 250/5 | MBS |  | 3
| Digital Power Meter | SCHNEIDER |  | 1
| Timer | TELE-HASE |  | 2
| Control relay | SCHNEIDER |  | 2
| Selector 3 positions | SCHNEIDER |  | 2
| Voltage relay | S & AS |  | 1
| Panel 200x100x60 | IDE |  | 1
| Side Panel 200x60 | IDE |  | 1
| DB-MECH |  |  | 2100
|  |  | TTC: | 2331
| Switch INS100 4x100A | SCHNEIDER |  | 1
| Fuse holder | SCHNEIDER |  | 3
| Pilot lamp | SCHNEIDER |  | 3
| CT 100/5 | MBS |  | 3
| Digital Power Meter | SCHNEIDER |  | 1
| Surge Arrester type 2 | DHEN |  | 1
| MCB DPNN 10A 1P+N , C , 6KA | SCHNEIDER |  | 38
| MCB DPNN 16A 1P+N , C , 6KA | SCHNEIDER |  | 1
| MCB DPNN 20A 1P+N , C , 6KA | SCHNEIDER |  | 2
| MCB IC60N 20A 4P , C , 6KA | SCHNEIDER |  | 4
| MCB IC60N 32A 4P , C , 6KA | SCHNEIDER |  | 1
| Terminal 2x4mm2 | PHOENIX |  | 41
| Terminal 4mm2 | PHOENIX |  | 16
| Terminal 6mm2 | PHOENIX |  | 4
| Terminal 25mm2 | PHOENIX |  | 4
| Panel 18 MOD (PRISMA) | SCHNEIDER |  | 1
| Plastron | SCHNEIDER |  | 6
| Rail | SCHNEIDER |  | 6
| Door 18M | SCHNEIDER |  | 1
| MDB-B1 |  |  | 3500
|  |  | TTC: | 3885
| Switch INS320 4x320A | SCHNEIDER |  | 1
| Fuse holder | SCHNEIDER |  | 3
| Pilot lamp | SCHNEIDER |  | 3
| CT 400/5 | MBS |  | 3
| Digital Power Meter | SCHNEIDER |  | 1
| Surge Arrester type 2 | DHEN |  | 1
| MCB C60H 4x25A | SCHNEIDER |  | 6
| MCB C60H 4x40A | SCHNEIDER |  | 2
| MCB C60H 4x63A | SCHNEIDER |  | 2
| MCB C120N 4x80A | SCHNEIDER |  | 2
| MCB IC60N 25A 2P , C , 6KA | SCHNEIDER |  | 1
| MCB IC60H 10A 4P , C , 6KA | SCHNEIDER |  | 4
| MCB IC60H 20A 4P , C , 6KA | SCHNEIDER |  | 2
| Panel 200x80x40 | SCHNEIDER |  | 1
| UMDB-B1 |  |  | 1275
|  |  | TTC: | 1415.25
| MTS 4x63A | SOCOMEC |  | 1
| Fuse holder | SCHNEIDER |  | 3
| Pilot lamp | SCHNEIDER |  | 3
| CT 80/5 | MBS |  | 3
| Digital Power Meter | SCHNEIDER |  | 1
| Surge Arrester type 2 | DHEN |  | 1
| MCB IC60N 25A 4P , C , 6KA | SCHNEIDER |  | 4
| Terminal 6mm2 | PHOENIX |  | 16
| Terminal 10mm2 | PHOENIX |  | 8
| Panel 12 MOD (PRISMA) | SCHNEIDER |  | 1
| Plastron | SCHNEIDER |  | 4
| Rail | SCHNEIDER |  | 4
| Door 12M | SCHNEIDER |  | 1
| EDL Totalizing Panel |  |  | 4775
|  |  | TTC: | 5300.25
| MCCB NSX100F TM100D 4x100A | SCHNEIDER |  | 2
| Contactor LC1-G2654KUEN 4x265A/AC3 | SCHNEIDER |  | 2
| PLC | SCHNEIDER |  | 1
| Fuse holder | SCHNEIDER |  | 12
| Pilot lamp | SCHNEIDER |  | 11
| CT 300/5 | MBS |  | 3
| Digital Power Meter | KAEL |  | 1
| Voltage relay | S & AS |  | 2
| Control relay | PHOENIX |  | 4
| Selector 3 positions | SCHNEIDER |  | 2
| MCCB NSX250F TM250D 4x250A | SCHNEIDER |  | 1
| Power supply 24VDC | SCHNEIDER |  | 1
| Panel 140x80x30 | SCHNEIDER |  | 1
Commercial Conditions:
B.1 Conditions of Sale
This quotation is submitted subject to TECHNICAT Group Conditions of Business. All prices have been offered in conjunction with these terms and conditions, and any deviation from these terms may result in the amendment of these prices.
B.2 Validity
The prices indicated are open for acceptance up till One Week from date of this proposal. Thereafter this date the tender will be subject to extensions or revisions.
B.3 Estimated Delivery
Based on current commitments:
* To be fixed later upon your priority schedule.
- Dispatch time is our best estimate at time of quotation, and will be confirmed upon receipt of order. This confirmed date would form our contractual offer of dispatch.
* Prices include transportation to the site.
B.4 Warranty
A total warranty against any fault in the assembly is provided.
B.5 Payment
* CASH PAYMENT.
We trust the above shall meet your acceptance and look forward to hear from you soon.
Sincerely Yours
ELIE BOU SERHAL
Electrical Eng.